## OPD - Power Requirements EQUP
Standardised Architectural Modules
Checklist: OPD Equipment & Instruments requiring power supply
| Fill in the required details | [6 empty] | Doc. No. 1240-A-Doc-023
This checklist lists commonly available in most eye hospitals and hence not a complete list. Please add additional equipment as appropriate
S No | Equipment | Size / Footprint | Watts | Ampearage |  | Supply |  |  | Water connection | Others (Mention)
|  |  |  | 5A | 15A | General | Stabilised | Uninterrupted
I | Exam area
1 | Slit lamp |  |  |  |  | O - 1 |  | O - 2
2 | Electric torch |  |  |  |  | O - 1 |  | O - 2
3 | Direct ophthalmoscope |  |  |  |  | O - 1 |  | O - 2
4 | Indirect ophthalmoscope |  |  |  |  | O - 1 |  | O - 2
5 | Hand held slit lamp |  |  |  |  | O - 1 |  | O - 2
6 | CT Scan -viewer |  |  |  |  | O - 1 |  | O - 2
II | Assessment area
7 | Autorefractometer |  |  |  |  | O - 1 |  | O - 2
8 | Ophthalmic chart projector |  |  |  |  | O - 1 |  | O - 2
9 | Ophthalmic chart display |  |  |  |  | O - 1 |  | O - 2
10 | Refraction table |  |  |  |  | O - 1 |  | O - 2
11 | Non-contact tonometer | [6 empty] | Y
12 | Center field exam display board | [6 empty] | Y
13 | Streak retinoscope | [6 empty] | Y
14 | Aurochart (or equivalent) |  |  |  |  | O- 1 |  | Y
15 | RAF ruler | [6 empty] | Y
16 | IOL master | [6 empty] | Y
17 | Kerotometer | [6 empty] | Y
III | Investigation area
18 | HFA | [6 empty] | Y
19 | HRT | [6 empty] | Y
20 | OCT | [6 empty] | Y
21 | Fundus camera | [6 empty] | Y
22 | Specular microscopy
23 | Zywave orbscan | [6 empty] | Y
24 | Pentacam
25 | Confocal microscopy
26 | B- Scan
27 | USG/UBM
28 | ERG
IV | Procedure area
29 | Yag laser
30 | Green laser
31 | Piped oxygen
32 | Cylinder oxygen
33 | Crash cart
34 | Compulsory wheelchair access
35 | Recovery for GA patients
V | Required in more than one area
36 | Wash Basin
37 | Ceiling Fan
38 | Ceiling Light (mention lighting levels) |  |  |  |  | 200-300-500 (Range of Service Illuminance)
39 | Dimmer
40 | Temperature control (Mention type of air conditioning if needed)
41 | Humidity control
42 | Wall mounted TV
43 | Computer - Screen | [6 empty] | Y
44 | Computer - CPU | [6 empty] | Y
45 | Printer | [6 empty] | Y
46 | Data - Internet | [6 empty] | Y
47 | Data - Telephone | [6 empty] | Y
48 | Others (Mention)
49
50