## OPD - Equipment & Furniture
Standardised Architectural Modules
Version: Phase -1
Checklist: Outpatient Services: Clinical room wise requirements
S No | Room Name | Dimensions (columns to be deleted) |  | Equipment / Instruments | [13 empty] | Procedure requirements | [5 empty] | Furniture | [8 empty] | Remarks
|  | in feet | In Sq. ft | Slit Lamp | Direct Ophthalmoscope | Electric Torch | Indirect Ophthalmoscope | Ophthalmic Chart Projector & Display or Aurochart | Refraction Table | NCT Machine | IOP Machine | Streak retinoscope | RAF ruler | Microscope | Fundus Camera | LCD monitor | Computer + printer | Wash Basin | Ceiling Light | Wall mounted light | Dimmer | Temprature and humudity control | Recovery for GA patients | Attender's Chair | Patient's chair | Patient's stool | Patient's couch / bed | Examiner's chair | Examiner's stool | Examiner's table | Storage Shelf | Others (Mention)
I | Patient regiration & coordination area
1 | Patient registration | [14 empty] | P | P |  | P
2 | Waiting area-I | [14 empty] | P | [16 empty] | Waiting chairs
3 | Waiting area-II | [14 empty] | P | [16 empty] | Waiting chairs
4 | Waiting area-III | [14 empty] | P | [16 empty] | Waiting chairs
II | Examination area
5 | Standard exam room |  |  | P | P | P | P | [10 empty] | P | P |  | P |  |  | P |  | P |  | P |  | P | P
6 | Paediatric exam |  |  | P | P | P | P | P |  |  |  | P | [5 empty] | P | P |  | P |  |  | P |  | P | P | P |  | P | P
7 | ROP room | [17 empty] | P |  |  |  |  | P | P |  | P |  |  | P | P
III | Assessment area
8 | Vision room |  |  |  |  | P |  | P | P |  |  | P | P | [5 empty] | P | P |  |  |  |  | P |  |  | P |  | P | P |  | Vision & refraction room can be clubbed together
9 | Refraction room |  |  |  |  | P |  | P | P |  |  | P | P | [5 empty] | P | P |  |  |  |  | P |  |  | P |  | P | P
10 | Squint examination room (* Synoptophore, Triangle table, Loose prism) |  |  |  |  | P |  | P |  |  |  | P | P | [5 empty] | P |  |  |  |  | P | P |  |  | P |  | P | P
11 | Investigation room |  |  |  |  | P |  |  |  | P | P | [7 empty] | P | [6 empty] | P | P | P |  |  | P
12 | Multipurpose room (*Bejerrum screen) |  |  |  |  | P |  | P | P |  |  | P | P | [5 empty] | P | [6 empty] | P |  | P |  |  | P
13 | Manual biometry room (*IOL Master, Kerotometer) | [15 empty] | P | P | P |  |  | P |  | P |  | P |  | P | P | P | P
III | Assessment area
14 | Hess Diplopia room (*Perimetry, Hess chart) | [17 empty] | P |  |  |  |  | P |  | P
15 | HFA room (*HFA Machine) | [15 empty] | P |  | P |  | P | P |  |  | P | P |  | P
16 | HRT room (*HRT Machine) | [15 empty] | P |  | P | P | P | P |  |  |  | P |  | P
17 | Duct, scrapping and pachymetry room | [5 empty] | P | [6 empty] | P |  |  |  | P | P |  | P | [5 empty] | P | P | P |  | P
18 | Specular Microscopy | [12 empty] | P |  |  | P |  | P |  |  |  |  | P |  | P |  | P
19 | Zywave, Orbscan room (*Zywave Orbscan) | [15 empty] | P | P | P |  | P | P |  | P |  | P |  | P |  | P | P
20 | Pentacom room (*Pentacom machine) | [15 empty] | P |  | P |  | P | P |  |  |  | P |  | P
21 | Confocal room (*confocal machine) | [15 empty] | P |  | P |  | P | P |  |  |  | P |  | P
22 | CCT room (*CCT Machine) | [16 empty] | P | P | [5 empty] | P |  |  | P |  | P
23 | OCT room (*OCT machine) | [15 empty] | P |  | P | [6 empty] | P |  | P |  | P | P
24 | FFA room (*Topcon Zeiss, stretcher) | [15 empty] | P | P | P |  | P | P |  |  |  | P | P | P |  | P | P |  | Emergency trolly & oxygen cylinder
25 | USG and UBM (*Ultra sonography) | [15 empty] | P |  | P |  |  | P |  |  |  |  | P | P |  | P | P
26 | ERG room (*ERG machine. cylinder oxygen, crash cart) | [15 empty] | P |  | P |  | P | P |  |  |  |  | P | P |  | P | P
27 | ERG recovery room | [17 empty] | P |  |  |  | P | P |  |  | P |  |  | P | P
V | Procedure area
28 | Dilatation area | [17 empty] | P |  |  |  |  | P | P
29 | I & D room
30 | YAG capsulotomy room (*Yag laser machine) | [17 empty] | P |  | P | P |  |  |  | P |  | P |  | P | P
31 | Yag Pi Laser (*Yag Pi laser machine) | [17 empty] | P |  | P | P |  |  |  | P | P | P |  | P
32 | Typical laser room for retina (* Recommended laser machine) | [15 empty] | P | P | P |  | P | P |  |  | P | P | P | P | P | P | P
33 | Lacrimal exam/suture removal room | [16 empty] | P | P | P | [6 empty] | P | P | P
34 | Ocular Prosthetic | [16 empty] | P | P |  |  |  |  | P | P |  |  | P |  | P | P |  | Exhast fan in the lab
35 | Aesthetic cinic | [17 empty] | P
36 | Oncology/ Trauma clinic |  |  | P | P | P | P | [10 empty] | P | P |  |  |  |  | P |  | P |  | P |  | P | P
37 | Low vision assesement room (*LCD Screen) | [15 empty] | P |  | P |  | P |  |  | P |  | P |  |  |  | P | P
38 | Vision stimulation room (*LCD Screen) | [15 empty] | P | P | P |  | P | [8 empty] | P | P
V | Procedure area
39 | Counselling room | [15 empty] | P |  | P |  |  |  |  | P | P |  |  | P |  | P | P
| Recommendations: |  |  | Note: Equipments mentioned with '*' in bracket to be installed in the respective room
1. Washbasin in every room.
2. Computer with LAN connection or wireless connectivity in every room in the patient care area (a default requirement if there is a plan to deploy EMR)
4. Display monitors in the waiting area - to display patients queue in EMR eco-system /or for awareness creation;
5. Intercommunication in each room
6. Fans to be considered in the patient care areas where no AC is provided;